WO1 - ANNEX 1

Official Use Only

File Ref:

SEWAGE DISCHARGED UNDER EMERGENCY CONDITIONS

Please complete this annex if you are proposing to make a discharge in an emergency, from a private sewage pumping station.

1. General

(i) Easting/Northing of Discharge

(ii) Name of the receiving waterway

(iii) Name of the Waste Water Treatment Works to which sewage is to be pumped

(iv) Is the drainage system, served by this pumping station, separated i.e. are all surface

water flows excluded?                                         				    Yes/No*

(v)  Is this pumping station to be adopted by Northern Ireland Water?                 Yes/No*

[If yes then please provide evidence of your application for Article 161 approval]

(vi) NIEA Water Regulation requires a copy of the Rivers Agency approval to discharge

in an emergency for the proposed receiving waterway.

Has this approval been forwarded along with this application?		                Yes/No*

(vii)  NIEA Water Regulation requires a copy of the Pre Development Enquiry (PDE) from Northern Ireland Water.

Has this been forwarded along with this application?		                             Yes/No*

[If the answer to (vi) and (vii) is no, then such permission should be sought and a copy forwarded to NIEA Water Regulation as soon as possible. Without such documentary evidence this application will not be progressed].

* Delete as appropriate

2. Pumps

(i) Number of duty pumps 			Number of pumps on stand-by

(ii) Capacity of pumps                                                 (litres per sec)

3. Design features

(i) Design average daily flow for pumping station  				       m3/day

(ii) Storage capacity in system (wet well plus upstream

sewerage system)                                                                                                 m3

(iii) Proposed maximum total retention time before discharge at

design average daily flow                                                                                      hours

(iv) Facilities to be provided for solids separation to prevent the discharge of gross solids

(v) Minimum particle size to be retained by solids separation equipment                   mm

(vi) Will facilities be provided for installation of a mobile stand-by generator? 	    Yes/No*

(vii) Will there be access for a tanker to remove sewage when necessary?         Yes/No*

(viii) Alarm details (prior to adoption by Northern Ireland Water) and who will respond to

the alarm.

Please provide Names and Telephone Numbers of 2 persons who will respond to the Alarm.

Name:

Name:

Tel:

Tel:

* Delete as appropriate